BBM: Decision on administrative penalty pertaining to environment
On 20 Nov 2018, Ha Noi - Nam Dinh Beer Joint Stock Company announced the Decision on administrative penalty pertaining to environment as follows:
Administrative penalty to the following organization:

1. Ha Noi – Nam Dinh Beer Joint Stock Company 

Address: No.5 Thai Binh Street, Nam Dinh City, Nam Dinh Province

Business Registration Certificate (4th changed) No. 0600161270
Date of issue: 11 May 2017

Place of issue: Nam Dinh Authority for Investment and Planning
Legal representative: Mr. Dang Quang Thang; Sex: Male

Position: Director

2. Making the administrative violations as follows:
- Discharging waste water in excess of technical standards on waste water from 1.1 times to 1.5 times for the water waste volume of from 100 m3/ day (24 hours) to less than 200m3/ day (24 hours) (the water waste sample taken on 26 Sep 2018 contented the phosphorus exceeding 1.4 times according to QCVN 40:2011/ BTNMT – column B)
3. Prescribed in point h, clause 2, article 13 in Decree No.155/ 2016/ ND – CP dated 18 Nov 2016 of the Government on administrative penalty pertaining to the environment protection (Decree No. 155/ 2016/ ND – CP)
4. Mitigating circumstances: having reviewed the waste water treatment system which met QCVN just after receiving the sample analyzing result
5. Method of penalty 

a. Fine: VND 100,000,000

b. Remedy: payment for the cost of water waste analysis of VND 11,532,200
Total fine: VND 111,532,200

